Co-oximeter

22/11/10

USES – measurement of blood concentration of various forms of Hb

DESCRIPTION

- a device that uses spectrophotometry to measure relative blood concentrations of oxyhemoglobin, carboxyhemoglobin, methemoglobin, and reduced haemoglobin

METHOD OF INSERTION AND/OR USE

- a laboratory test involving a blood sample heated to 37 C and subjected to light of various length and assesses absorption spectra.

- does not require pulsatile flow

- measures MetHb, COHb and other forms of Hb

- uses many other wavelengths

OTHER INFORMATION

- measures either venous, arterial or capillary oxygenation

COMPLICATIONS

Causes of HIGH Co-oximetery and LOW Pulse Oximetry Readings

Poor peripheral perfusion

Ambient light

Poor probe contact

Dyes – methylene blue

TR

Causes of LOW Co-oximetry and HIGH Pulse Oximetry Readings

COHb

MetHb

Radiofrequency interference